## Certification Scope
Scope of work as defined in ISO 45001 Certification
Provision of construction, mechanical, civil engineering (including the rapid set in-situ polymeric lining of potable and sewer piplelines) and electrical services, design of associated temporary and permanent works and management of contract services to water, gas and electrical industries in the UK
Date of Assessment: 19th August 2023
Issue 1 |  | MES-FM-S-001 | Revision 1

## Health
Existing Hazards. | Use of Substances | Potential for Infections (Weils Disease / Sharps / Needles) | Work in Extreme Heat/Cold | Exposure to Dust | Exposure to Noise | Use of Display Screens | Substances that may cause Skin Disease ( Dermatitis) | Exposure to Asbestos Cement Pipes | Exposure to Lead | Exposure to Vibration | Working with an undisclosed health problem | Working whilst pregnant or breastfeeding | Exposure to Radiation (Sun Rays) | Exposure to Asbestos in Buildings | Work related Stress | Manual Handling Activities | Workplace Infections (Pandemic)
Associated Risks | Risk of Inhalation, Absorption and /or Ingestion of substance detrimental to health | Risk of infection through coming into contact with substance. (Rats / Cattle Urine etc.) | Failing in ability to operate as an individual and/or to operate plant and equipment. Sunburn. Extremes of cold affecting body. Risk of employee fainting | Risk of injury to eyes and Inhalation of dust into body causing possible health problems | Use of plant and equipment creating noise levels with the potential to inflict hearing loss. | Use of display screens potentially affecting ones eyesight and other body functions due to positioning of screens, desks & chairs etc. | Risk of substances contacting and thus damaging the skin. | Risk 0f Inhalation of substance detrimental to health | Risk of Inhalation of substance detrimental to health | Risk of hands losing all feeling of sensation and / or fingers becoming numb. | Work activity being assigned that does not fit with individuals condition. Failure of employer to identify actions required if employee is taken ill. | Risk of injury to mother and baby when allocating work activities not suitable for pregnant person. | Risk of sunburn to body | Risk of Inhalation of substance detrimental to health | Increase in sickness absence and poor work performance. May lead to poor decision making and thus accidents and incidents. | Risk of injury to skeletal and other bodily systems through incorrect handling, pushing, pulling, lifting, putting down, moving or carrying of loads. | Risk of Infection of Individual / s from virus during Pandemic
Management Controls | MWS-MOPS-S-027 (COSHH) | MWS-MOPs-S-055 (Workplace Infections) | MWS-MOPs-S-048 (COLD) (Inclement Weather) | MWS-MOPS-S-027 (COSHH) | MWS-MOPs-S-039 (Noise) | MWS-MOPs-S-034 (DSE) | MWS-MOPs-S-027 (COSHH) | MWS-MOPs-S-042 (Unplanned Asbestos Exposure) | MWS-MOPs-S-027 (COSHH) | MWS-MOPs-S-045 (Vibration) | MWS-MOPs-S-070 Management of Health Surveillance and Fitness for Work | MWS-MOPs-S-047 (New & Expectant Mothers) | Storyboard | MWS-MOPs-S-040 /041 (Asbestos in Commercial/Domestic Premises) | MWS-POL-HR-042 Stress Management Policy | MWS-MOPs-S-037 (Manual Handling) | MWS-MOPs-S-074 Controlling Workplace Infections During Covid 19 Crisis. MES-TMP-RA-001
Operative Controls | Read and understand the control measures detailed within the COSHH assessment as well as information on any packaging, No COSHH assessment, do not use - contact your supervisor / line manager. Do not exceed the workplace exposure limit (WEL) and wear appropriate PPE. Ensure hazardous substances are put back into a secure location after use and not left out on site. Don't eat, drink or smoke when handling substances Don't expose colleagues or members of the public to fumes, gas, dust or other hazardous substances created by your work. Always wash hands after using substances, before smoking, eating or going to the toilet. Always dispose of substances as per the COSSH Assessment and or the Safety Data Sheet. | Always wash hands prior to eating, drinking or smoking. Always wear protective clothing, boots. Ensure area is free of rats. Do not attempt to touch rats. Cover all cuts and broken skin with waterproof plasters before and during work. If you find a needle it has probably been used by a drug user and may be contaminated by infected blood. Do not touch it or move it, unless you have to because of the situation at the time. Leave a responsible person to safeguard it whilst you report the matter to you supervisor. If you do receive a wound, wash under running water, do not suck the wound, cover with a clean dressing, seek immediate medical treatment and report incident to your FLM. Report any flu-like illness to your doctor. | Suitable and sufficient clothing provided, use it, store it and replace when necessary. Fresh drinking water provided where required. In very hot weather wear sun screen, take regular breaks and ensure you consume adequate fluids to prevent dehydration. | Eliminate the need to produce dust. Use dust suppression when working with tools that cause dust i.e. water. Use appropriate face mask. Extraction/ventilation systems may be required. | Keep compressor covers closed when in use. Don't keep machinery running unnecessarily. Move the noise source away from the work area or move the work area away from the noise. Ensure ear plugs are a good fit and correctly inserted. Ensure that ear defenders are worn the correct way round and are in good condition. Think of others who also may be affected, workmates & the public. Acustic screening may be a control measure in certain conditions. | Organise your work area to suit your needs, specialist needs should be catered for. Keep your work area clean and tidy. Arrange your desk and seat to achieve a comfortable posture when using display screen equipment. Alternate tasks between working with Visual Display Equipment and other tasks. Arrange your working area to avoid unnecessary bending, twisting and reflective glare. Complete a DSE Assessment and update as required. | Ensure you have gloves available and wear them. Wash any skin contamination promptly and dry hands thoroughly. Use barrier cream as required. | In the event of a Gang encountering asbestos cement during the course of their operations, they MUST take the following action:-STOP Work and Contact your supervisor. Avoid cutting the asbestos cement with any mechanical tools. Keep the section of asbestos that has to be cut damp at all times. Keep any broken sections of asbestos cement damp at all times. Guard the working area in order to prevent un-authorised persons entering the working area. Wear the correct PPE whilst handling / breaking / cutting the material as per the instructions given by your Supervisor. Ensure water sprayer and an adequate supply of water is available. Long sections of asbestos cement should NOT be broken but should be wrapped and disposed of correctly. | Avoid cutting the lead pipe with any mechanical tools. Keep any broken sections of lead pipe damp at all times. Guard the working area in order to prevent un-authorised persons entering the working area. Wear the correct PPE whilst handling / breaking / cutting the material. Ensure good ventilation is maintained at all times. Exhaust ventilation is required in confined spaces or areas where good ventilation cannot be achieved. Long sections of lead should NOT be broken but should be wrapped and disposed of correctly. Contact your line manager to arrange for disposal | Reduce the need for using vibrating tools and consider alternative methods or alternative tools. Avoid gripping or forcing equipment more than you have to Practice job rotation, share the exposure. Encourage good blood circulation by keeping warm and dry, when necessary wear gloves, a hat and waterproof clothing. Giving up or cutting down on smoking will help to maintain a good blood flow, massaging and exercise your fingers during work breaks. Keep equipment well maintained and in good condition and tools sharp. Monitor your usage of vibrating tools in line with the guidance you have been given. Do not exceed recommended usage. Report any symptoms to your line manager or the person who is responsible for health checks. | Ensure you complete medical questionnaire upon starting employment with company. Ensure all other medical questionnaires that you receive are completed and returned to line management and/or Human resources department. Ensure you inform line management and/or human resources of any ailment and/or prescribed drug you or your doctor feel we should know about. | Inform line management of your condition and a specific risk assessment shall be undertaken. | Use clothing provided to protect your self from sun. Use sun screen where required. Drink plenty of fresh water. Take regular breaks. | Do not carry out any work activity or enter any building/office that contains asbestos until you have been informed of the required controls. Report any area you may feel contains asbestos that you have not been previously told about. Report anyone who attempts to disturb any area that contains asbestos. | Ensure you read all company communications to ensure you fully understand what is happening within the business. Ensure regular contact with your supervisor to discuss workload and areas of concern. Ensure you only undertake tasks you are trained to do. Ensure your working hours (including overtime are not excessive.) Ensure you take your full holiday entitlement. Attend training as requested. Report all bullying and harassment to your supervisor. Be vigilant and offer additional support to others who are/may be suffering from stress. | PLAN YOUR LIFT - REMEMBER TILE Task - think about what your need to do. Moving what to where. How are you going to pick it up, is there somewhere prepared to set it down. Individual capabilities - Never lift more than you can manage. Consider where you have to pick it up from, where you are setting it down and how far you are planning to carry it. Consider getting help or using a mechanical aid. Load - in addition to the weight of the load, think about its shape, size, are there any sharp edges? is one side heavier than the other. Environment - think about where you are: rough ground? restricted space? down a hill? up some stairs? is it windy? is the ground icy or wet? Wear the appropriate PPE for the task. | Ensure you read all communications to ensure you understand how to protect yourself and others. Refer to generic risk assessments for Coronavirus. Where possible maintain a 2m distance from another person. Wash your hands regularly with soap and hot water for at least 20 seconds or use hand sanitiser where soap and hot water isn’t available throughout the day, in particular, before and after Entering or leaving a depot or site/office, welfare, breakout room or toilet facilities. Using a shared vehicle or using public transport. Working within a 2 metre distance. Bagging PPE and cleaning product waste. Using shared equipment. Maintain a 2 metre distance, or 1 metre distance with risk mitigation where 2 metres is not viable. Mitigating actions may include: Further increasing the frequency of hand washing and surface cleaning. Keeping the activity time involved as short as possible. Using screens or barriers to separate people from each other. Using back-to-back or side-to-side working (rather than face to-face) whenever possible. Reducing the number of people each person has contact with by using ‘fixed teams or partnering’ (so each person works with only a few others). Where a distance of 1m cannot be maintained - Consider whether the activity should continue and, if so, risk. assess. If the task is assessed as essential, employees must wear an appropriate face mask for the task being undertaken. Where possible do not share vehicles. If you need to use a shared vehicle keep windows open and do not use the AC. Do not eat of drink in a shared vehicle. Protect reusable RPE from contamination when not in use. Check with your Supervisor before entering customers properties.

## Safety
Existing Hazards. | Unsatisfactory Safety Behaviour | Cleaning/preparing decommissioned Networks. | Driving of vehicles for business use | Loading and Unloading of Vehicles | Use of Plant | Use of Equipment | Undertaking of Excavations | Working in Vicinity of Underground Services | Working in Vicinity of Overhead lines | Work Over Water | Use of Electrical Equipment | Carrying Fuel on Vehicles | Working in Potential Confined Spaces | Working with Electricity | Working with Gas | The use of Lifting Equipment | The incorrect and / or failure to use of PPE | Working at Heights | The Carrying of Compressed Gases / Air | The Use and Storage of Flammable Liquids | Inadequate Lighting | Slips Trips and Falls | Lone Working | The Incorrect Storage of Materials | Working in the Public Highway | Working in the Vicinity of Level Crossings | Working in the vicinity of the Public | Working in Unoccupied Property | Working in Occupied Property | Working from Step Ladders | Design | Commissioning
Associated Risks | Risk of injury to ones self / others and / or property damage through improper behaviour at work. | Risk of injury to ones self / others and / or property damage through accidental pressurisation of Network | Risk of injury and property damage through improper use of vehicle. | Risk of injury to ones self and others from: Electrocution from overhead cables. Crushing of persons other than the operator. Operator falling off vehicle. Overturning of vehicle. Crushing of driver between vehicle and load. Dropping of load. Failure of / Non-Conforming Lifting Equipment. | Risk of damage to property and personal through improper use. | Risk of damage to property and injury through improper use. | Risk of injury through collapse of / falling into excavation. Risk of undermining adjacent structures causing property damage. Risk of plant/equipment and other items stored in vicinity of excavation falling into excavation. | Risk of injury through coming into contact with underground services. Property damage when coming into contact with utility owner services. | Risk of injury through coming into contact with overhead lines. Property damage when coming into contact with utility owner services. | Risk of drowning through falling into water and/or being knocked into water by moving plant / vehicles. | Risk of electrical shock causing injury. Risk of damage to plant and equipment. | Risk of fire within vehicle causing an accelerant to increase the risk of injury and damage to vehicle. | Risk of hazardous and dangerous substances, low / high oxygen levels, liquid etc. being present leading to potential for asphyxiation, explosion, fire to occur. This will lead to injury and / or property damage. | Risk of electrical shock causing injury. Risk of damage to plant and equipment. | Risk of fire and explosion and health effects through Asphyxiation and Inhalation . Risk of property damage through explosion and fire. | Risk of injury and property damage by losing control of and / or losing the load to be lifted, through use of improper / unsuitable lifting equipment and attachments. | Risk of injury through failure to wear correct personal protective equipment, damaged/unsuitable personal protective equipment and / or incompatible personal protective equipment. | Risk of personal injury through falling from height. Risk of property/personal damage/injury through dropping plant/equipment from height. | Risk of injury / property damage from fire and explosion from igniting / exploding compressed gases. | Risk of injury and property damage from flammable liquids becoming ignited through exposure to naked flame and / or chemical reaction. | Risk of personal injury and property damage from carrying out work activity in poor light and being unable to see work area and / or being unable to see work equipment to ensure safe use. | Risk of injury through slipping, tripping and / or falling through poor selection of footwear, poor site housekeeping, poor work area controls being in place. | Risk of injury through coming into contact with violent persons. Working in a hazardous location and or undertaking work of a hazardous nature without having suitable support in the event of an incident occurring. | Risk of injury due to falling / colliding with stored material. Risk of property damage due to materials falling onto property. | Risk of injury due to coming into contact with vehicular traffic. Damage to property through work activities. | Risk of disruption to the movement of trains and road vehicular traffic. Risk of vehicles and trains colliding due to poor traffic management. | Risk of injury to public when being directed into vehicular traffic and / or coming into contact with work site / work site activities. | Risk of injury through poor condition / contents of building. | Risk of injury through location of work area and material that may be stored within work area. Risk of injury from violent property owners. | Risk of injury from falling from stepladder. | Risk of injury from Catastrophic Failure | Risk of injury from Product or Supply being Carried
Management Controls | Safe Behaviour Workshops | MWS-GD-S-02 Generic Risk Assessments | MWS-MOPS-S-076 Occupational Road Risk Policy | MWS-MOPs-S-046 (Safe delivery of Plant & Equipment) | MWS-MOPs-S-029 (PUWER) | MWS-MOPs-S-029 (PUWER) | MWS-MOPs-S-017 (Excavations) | MWS-MOPs-S-021 (Avoiding Underground Service) | MWS-MOPs-S-022 (Avoiding Overhead Service) | MWS-MOPs-S-057 (Vicinity of Water) | Electrical Management System | MWS-MOPs-S-043 (Flammable Liquids in Containers) | MWS-MOPs-S-024 (Confined Spaces) | Electrical Management System | Gas Transporter Procedures and MWS Gas Industry Registration Scheme (GIRS) Method Statements. | MWS-MOPs-S-030 (LOLER) | MWS-MOPs-S-025 (PPE) | MWS-MOPs-S-053 (Working at Heights) | MWS-MOPs-S-058 (Transport & Storage of LPG) | MWS-MOPs-S-060 (Handling of Flammable Liquids) | MES-MOPs-S-035 (Management of Offices & Depots) | MES-MOPs-S-035 (Management of Offices & Depots) | MES-MOPs-S-044 (Lone Working) | MES-MOPs-S-035 (Management of Offices & Depots) | MES-MOPs-S-054 (Working in the Public Highway) | MES-MOPs-S-054 (Working in the Public Highway) | MES-MOPs-S-065 (Protecting the Public at Fixed Construction sites) MES-MOPs-S-054 (Working in the Public Highway) | MES-MOPs-S-056 (Dealing With Violence & Aggression) MES-MOPs-S-055 (Workplace Infections) | MES-MOPs-S-056 (Dealing With Violence & Aggression) | MES-MOPs-S-053 (Working at Heights) | MES-MOPs-CDM-001 (Procedure for the application of CDM Regulations) | MES-PM-S-01- Business Process Map for Quality Assurance
Operative Controls | Comply with safety training and instruction, also with site safety rules. Avoid the temptation to cut corners to get the job done more quickly, there could be a high price to pay. Be aware of how the job you are doing could affect other people around you. Stay away from work if you know that you are not fit through illness, drink, drugs or for any other reason. If you have any doubts on safety issues, ask your supervisor. Report to your supervisor anyone who you see working or behaving in an unsafe manner, especially horseplay. | Prior to removal of Cap Ends\Inflatable Stoppers check for no pressure build up in Network. Ensure there is clear communication between all operatives on site using mobile phones or Radio's. Install all Cap Ends\Inflatable Stoppers in accordance with manufacturers recommendations. Do not deflate Inflatable Stoppers inside the excavation. Ensure Method Statement and any Permitry are briefed to all employees and sub contractors on site. All Operational personnel on site to confirm there is no pressure in Network prior to the removal of Cap Ends/Inflatable Stopper. This may be by mobile communications or in person depending upon nature, complexity and size of site. | Only authorised persons are to drive vehicles on company business. Ensure you hold suitable license for category of vehicle being driven. Always carry out driver daily checks. No mobile phones to be used when driving. Do not smoke in company vehicles/ plant cabs. Never drive under the influence of drink or drugs. Report all vehicle defects/ accidents immediately to your supervisor / line manager Use banks man when necessary. Plan your journey and take regular breaks. When not in use remove keys and keep vehicles locked. | Lifting operations of lorry loaders not to be carried out unless a distance of: Length of jib + 9m if cables on wooden posts Length of jib + 15m if cables on Pylons or contact local electricity supplier Reversing vehicles to be banked where required. Cordon area off were lifting operations are to take place. High visibility jackets to be worn Provide suitable access and egress to the rear of lorry loaders / vehicles where required for operator. Full deployment of outriggers. Check ground compaction CPCS/NPORS trained operator. Driver to operate machine in a position so that Crushing is avoided. Vehicle to be loaded and unloaded with proprietary chains and lifting beams provided by MES ensuring locking collar or d-shackle is secure All proprietary equipment to be tested and in-date, and rated at 2000kg (minimum) All loads to be chocked / secured at all times at ground level and secured on the back of lorry All plant and equipment should be inspected prior to signing the delivery note. Only use approved equipment for lifting operations. | Only use plant that you have been trained and authorised to use. Ensure plant item is suitable for task being undertaken. Ensure pre user checks are undertaken. Ensure manufacturers instructions are available. Use banks man when necessary, avoid the need for reversing where possible. Always leave plant secure in a safe location. (Lock and remove the keys) Report all plant defects immediately to your supervisor / line manager Wear the correct PPE | Only use equipment that you have been trained and authorised to use. Ensure equipment item is suitable for task being undertaken. (The right tool for the job) Ensure pre user checks are undertaken. Ensure manufacturers instructions are available. Always leave equipment secure in a safe location. (Lock and remove the keys) Report all equipment defects immediately to your supervisor / line manager. Ensure all protective devices, marking and warnings are clearly labelled and are in good working order. Never alter or remove guards or override safety devices. Wear the correct PPE | All excavations must be supported by a competent person. (Shoring / Battered Back) when working in unstable ground conditions Use secured ladders for access and egress. Fit edge protection and barriers around excavations to protect employees and the general public, regardless of depth of excavation. Keep soil heaps back at least the depth of the excavation from the edge. Refer to information regarding - AVOIDANCE OF UNDERGROUND SERVICES Never excavate near an adjoining structure (walls, telegraph/lamp posts etc.) unless authorised to do so, additional controls will be required. Ensure stop blocks are fitted when dumpers are tipping into excavations and that they are guided by a signaller. Never throw tools or materials to someone in an excavation, pass hand-to-hand or lower them on a rope if too deep to pass. Excavation must be checked prior to entry at start of shift. Weekly inspection must be carried out by a competent person and results must be recorded. | Carry out, site specific risk assessment. Use legible utility plans that are in date and cover the entire area of work. Always mark up the surface beyond the line of excavation. Check for visual signs of previous excavation work e.g. stopcock covers, scars, chamber covers. Use Cat and Genny before and during excavation work. Use safe digging techniques. Wear appropriate PPE. REPORT ALL DAMAGED SERVICES! DO NOT touch damaged electricity cables or look at end of fibre optics. MAKE BOTH the excavation and the site safe. Support and protect exposed underground plant. Where gas is leaking, ensure the site is EVACUATED or MADE SAFE. Follow safe digging practices HSG47. | Carry out a site specific Risk Assessment. Check cable height. Be aware of different exclusion zones for pylons and poles. Keep plant, spoil, materials and equipment outside the exclusion zone. Use goal posts and height restrictions for excavator booms. Be aware in damp or wet conditions, electricity can jump large distances and earth via cranes/plant. Make sure JIB/BOOM is stowed before moving. Excavator booms may require height restrictors to be fitted. EMERGENCY ACTION IF THERE IS AN ACCIDENT: Never touch an overhead line. Never assume lines are dead. When a machine is in contact with an overhead line, electrocution is possible if anyone touches both the machine and the ground. Stay in the machine and lower any raised parts in contact or drive the machine out of the lines if you can. If you need to get out to summon help, or due to fire, jump out as far as you can without touching any wires or the machine. Keep upright and get away. Get the electricity company to disconnect the supply. Even if the line appears dead, do not touch it. Automatic switching may reconnect the power. ANY CONTACT WITH OVERHEAD LINES MUST BE REPORTED EVEN IF THERE IS NO LOSS OF POWER OR INJURY. | Pump out water and remove the risk where practicable to do so. Where water cannot be removed: Ensure completion of a detailed risk assessment with assistance from your line manager in conjunction with contract SHEQ Manager/advisor. Ensure provision of adequate guard rails and toe boards. Ensure provision of safety nets where required. Ensure provision of safety harnesses/life lines, lifebuoys. Ensure provision of appropriate buoyancy aid/ life jackets. Rescue lines to be available at suitably positioned points. | Pre-user checks: Make sure the casing isn't damaged - if it is, don't use it. Make sure that all cables, plugs or connectors are sound and not damaged. Use tools on correct power supply as instructed on the maker's label. Only 110 volt or battery powered tools are permitted on site. Ensure the tool is properly earthed, unless it is an approved type that does not require earthing. Ensure the cable is long enough to reach your work without straining it. Using portable electric tools: Portable electric tools should only be used for their designated purpose. Ensure switches are working correctly before connecting to the power supply. Wear appropriate PPE when required, impact safety eye protection when using portable electric tools. Ear defenders when noise becomes a hazard. Disconnect tool when not in use or when changing accessories. Electric power tools should be regularly inspected and maintained by a competent electrician. Keep work areas free from trailing cables, keep work areas and equipment clean and dry. If electrical power tools become, dry them out and get them checked by a competent person before they are reused. All portable electrical equipment should be inspected and recorded at regular intervals | Petrol carriage should be kept to a minimum. Maximum amount carried on a vehicle 10ltrs in 2x5ltr containers Labelled with: * Manufactures name * Month and year of manufacture * The words “Complies with SI 1982/630” * Word “PETROL” and *HIGHLY FLAMMABLE” * Hazard warning sign * Phrases in English indicating precautions to be taken. The container shall: * Be in good condition * Stored to protect from damage * No more than 5yrs old. | Have the work done from outside where possible, for example: Inspection, sampling and cleaning operations can often be done from outside the space using appropriate equipment and tools. Remote cameras can be used for internal inspection of chambers/sewers etc. Follow a safe system of work; and put in place adequate emergency arrangements before the work starts, if entry to a confined space is unavoidable. You may only enter a confined space, or suspected confined space IF you have had appropriate training and have the proper equipment and are complying with a safe system of work. IF there is any doubt Do not enter and contact your supervisor. Always ensure a site specific Risk Assessments is completed and appropriate control measures, including any permits, are in place.. Always check the quality of the breathable atmosphere within the confined space before entry and continuously monitor whilst working within the confined space. Suitable training MUST be provided before work in a confined space is commenced. Appropriate equipment must be made available and be within calibration/tested regularly. If you notice any faults in the equipment, do not use and contact your supervisor immediately. Wear the appropriate PPE | Avoid as is so far as reasonably practicable other process or means .De-energize if possible if working live refer to HSG 85 as well as HSG 47 .Combat the risk at source If risk can be eliminated, by controlling the work to ensure that parts of a new permanent electrical system are not commissioned until all work has been completed . give priority to risk control measures that will protect all workers. Wear the appropriate PPE | Prior to work commencement all Gas Network Operatives (GNOs) shall undergo a Safety Technical Competence (STC) Assessment. Work on live gas shall require the implementation of a Safe Control of Operations (SCO) process by a Competent Person (CP) and Authorising Engineer (AE). . All items of safety critical plant / equipment MUST be approved as appropriate, be within calibration, tested and in date. All items MUST be checked before and after use and any defects identified MUST be reported immediately to your supervisor. All Gas Networks shall be tested prior to commissioning. Fresh Air Breathing Apparatus (FABA) to be worn where gas is found in an excavation above 20% LEL or where there is a potential for a release of gas. A minimum of 2 sets of FABA MUST be available (where one team member is working in the excavation, the second team member MUST act as a guard observing from the top). Additional sets MUST be available if more than one operative is working in the excavation i.e. 2 men in the excavation 3 men with operational FABA sets are required. FABA should be checked prior to every use and inspected. | Lifting equipment/accessories includes: items of plant (such as forklift trucks and telescopic handlers), all mobile elevating work platforms as well as cranes, electric hoists, goods hoists, gin wheels, etc. slings, chains, eyebolts and hooks. All Lifting equipment should be strong and stable enough for the particular use, always consider ground condition, weather, and marked to indicate safe working load (SWL); positioned to minimise any risks; used safely; subject to ongoing thorough examination and where appropriate, inspection by competent people. No lifting operations should take place near railway lines or powerlines without consultation. Operatives carrying out lifting operations must be competent, trained and qualified in the type of lifting operation being carried out. Competent user must visually should check before each use. Competent user must record a check each week. External inspections should be carried out 6 monthly for equipment used for lifting people(mewps etc.) and accessories such as chains and hooks. Annually for lifting equipment e.g. cranes, HIAB, JCB. An excavator must not be used to carry out a vertical lifting operation unless it has designated lifting point and is marked with a safe working load. All lifting certificates must be retained and available for inspection | ALWAYS wear the correct PPE for each task, refer to your method statement or working instruction. You MUST look after your PPE. Store it where it won't be damaged when not in use. You MUST use it properly. DO NOT damage or deface PPE. ALWAYS wear it in the correct manner. Report any loss or damage to your supervisor, replacements will be provided as required. | AVOID - Working at height if possible, i.e. pre-assemble structures on the ground or use extendible equipment where possible. PREVENT - If you have to work at height, assess the risk and prevent falls i.e.: Use access towers, Mobile Elevated Working Platforms (MEWP's), guard rails and toe boards (where appropriate). Only use ladders for access and for short duration, low risk work. Prevention should include the possibility of falling into an excavation or a trench! MINIMISE The potential for a fall to occur - for example: Use fencing and guard rails. Consider personal fall arrest equipment but as a last resort. Your Risk Assessments provide information that will allow you to select the most suitable equipment i.e. that which provides that maximum level of protection without limiting mobility. Consider others, prevent equipment from falling. Ensure an exclusion zone is set up to prevent unauthorised access. Appropriate PPE must always be worn. | Try to avoid carrying .Exchange for something not as flammable. Good ventilation plenty of fresh air to disperse any vapours .Containment are they kept in suitable containers i.e. LOCKED. All ignition sources removed from the storage and handling process i.e. no smoking policy . The provision of fire extinguishers and emergency procedures .Appropriate PPE must be worn. Vehicles must display the correct signage. Cylinders to be stored away from any hazard likely to cause impact i.e. fork trucks. | Try to avoid carrying .Exchange for something not as flammable. Good ventilation plenty of fresh air to disperse any vapours .Containment, are they kept in suitable containers and use of catchments trays . Ignition are all ignition sources removed from the storage and handling process i.e. no smoking policy . The provision of fire extinguishers and emergency procedures Appropriate PPE to be worn at all times. COSSH data sheets to be available for all liquids. | Use of natural lighting should be used where reasonable to do so. Adequate lighting should be provided to all areas and especially to those areas used in the hours of darkness, or where work may be carried out in poor visibility or diminished lighting conditions. As a minimum, lighting should be provided for junctions, around plant and buildings, pedestrian routes and areas where loading/unloading is to be carried out. Additional lighting will be required for work activities in the highway during hours of darkness. Avoid glare from the sun. | If you spill something, clean it up immediately - use your spill kit. Clear up waste materials as you create them. Do not leave tools and equipment lying about on the floor. Store as little as possible on site and ensure everything you have introduced into the highway is fenced and does not cause unnecessary obstruction. Route cables and hoses where they do not create a tripping hazard. Keep your vehicle tidy. Keep your boots, steps and ladders free from mud etc. Take care getting in and out of vehicles and plant. Climb down facing the vehicle, hold on, do not jump down. Keep vehicles clear and tidy. Always use designated walkways and access routes. Be aware of the increased risks of tripping as the level of natural light fades. Take additional care during adverse weather conditions. | Ensure a site specific risk assessment is completed and the risks of the job can be adequately controlled by one person . Ensure the work place is safe. Ensure there is a safe means of entry and exit to the workplace. Ensure adequate illumination, heating and ventilation, for the job location. Ensure you can use all equipment, especially powered tools and access equipment such as ladders, safely. Ensure lifting operations can be performed safely by one person. Ensure periodic visits from your supervisor by ensuring he knows your working location and ensure regular voice communication between supervisor and lone worker, (phone each other at regular intervals). Ensure your supervisor knows you have returned home safely or to a base. | Ensure you plan for the correct storage of equipment/materials/waste prior to commencing work. Ensure designated storage areas are adequately guarded with good access/egress. Storage area must be kept clean and tidy. Ensure materials and equipment are delivered at the right time and in manageable quantities. Ensure all waste is stored safely and regularly removed from site . Ensure good housekeeping. | At least one member of your team must have a valid New Road Works & Street. Works (NRSWA) operator's training card on site. You must carry your Code of Practice and refer to it when setting up your site. Don't presume you can remember all the information in the book even some of the basic layouts can be forgotten. In areas of increased risk, additional fencing may be required. Identify this on your Risk Assessment and inform your supervisor. Ensure signs are kept clean and visible at all times. Road lamp to be used where required. The appropriate PPE must be worn at all times. | Staff, Operatives or Contractors will not be allowed to work within such areas until such time as written permission has been received from the railway authorities. Risk assessments must be carried out both before and during works at or near to level crossings. Electronic pipe and cable location equipment can potentially interfere with railway signalling apparatus. Guidance must be sought from the railway authority before work starts. Where urgent works are necessary at a level crossing, 2 hours notice should be given in advance to the street authority and Network Rail and it is vital that work is not commenced until the undertaker has been assured that all necessary safety precautions are in place. On no account should visibility of advanced warning signs or crossing lights be blocked by vehicles, plant or equipment at any time. Anyone working near the running rail on Network Rail property must hold the appropriate qualification. The appropriate PPE must be worn at all times. | Maintain a safe route for pedestrians to pass work area work in accordance with the NRSWA Code of Practice. Ensure vehicles plant, equipment and stores are kept inside the work area and amber beacons fitted and working to plant when in use. Keep plant and equipment away from the edges of the excavation. Secure all work sites with appropriate fencing, higher risk areas will require extra control measures, if in doubt contact you line manager. Ensure safe access & egress can be maintained into customers properties Courtesy/Information boards to be displayed at all times Any in situ physical barrier removed must be replaced with a temporary barrier | Ensure Safe access and egress. Ensure adequate lighting Check for needles / vermin. Assess Condition of Property and work area - is it safe to enter / work? Is there any visual sign of someone else occupying the property. . If in doubt contact you supervisor | Always Smile. Always carry your company ID card. Let people know what you are doing if they ask. Use Sir or Madam be polite. Maintain eye contact for 3-4 seconds. Where possible maintain a clean, tidy, smart appearance. Maintain a positive posture where possible. Handshakes may not always be appreciated. Ensure work area is sufficient for you to complete your work safely. Ensure all tools are kept in suitable location as to not present a hazard to anyone else in the premises. Ensure all tools and other items are removed from customers property upon completion of the job. If a customer is getting agitated and aggressive: Let the customer do the talking. Don't take their complaint personally. Don't get drawn into an argument. Politely withdraw. Avoid letting the aggressor get between you and your escape route. Contact your supervisor. Immediately report any instances of Violence or Aggression to your Line Manager | Before-use checks: Ladders must be stored correctly and inspected before use (Tag with inspection date fitted). Check for splits or cracks in the stiles and rungs. Ensure that none of the rungs are missing or loose. Don't use painted ladders, this can hide damaged parts. Do not use hands to carry equipment up and down ladders. Report defects; label as defective and remove from site. Use of ladders: Work can only be carried out from a ladder when a job is of short duration and can be carried out safely. Ladders should be set on a firm base and leaning at the correct angle which is one unit out to four units up. Ladders must be tied near the top and extend a safe distance above the landing stage,(minimum of 1 metre) unless a hand-hold is provided. Ladders shall be secured top and bottom. For added safety, if possible and if necessary, the base of the ladder should be staked or buried to prevent slipping. Ensure your footwear is free from excessive mud or grease before you climb up or down the ladder. When climbing up or down, use both hands on the rungs - always face the ladder and maintain three points of contact. Don't overreach from a ladder, always move it. Wear appropriate PPE & beware of falling items. A rest area or platform shall be provided if the ladder/s rise a vertical distance of 9m or more. Fall arrest equipment may be required following risk assessment. | Training plans /competency assessment for personnel including Designers. Early identification of hazards and evaluation of risks. Induction prior to each work activity to communicate the Safe system of work. Evaluation and control of Sub Contractors by inclusion into the principles of prevention. Preparation of method statements and risk assessments prior to work commencement. | Design parameters to be documented and agreed. Design reviews and checks to verify design prior to the issue for Construction. Plans and Construction drawings to be controlled at operational level using Registers. Obsolete drawings to be removed and archived. Materials ordered and received to Design specification. Conformity Certificates to be maintained and backed up in Operational site files. Handover documents to be agreed with client. Quality Plans to be developed depending upon nature and complexity of works together with the appropriate and sufficient Inspection and Test Plans.

## Hazard v Job Description
This analysis shall be conducted at Operational Sites and shall be representative of scope of work outlined within the Contract Documents.
Consideration to be given to Roles from Design, Construction, Commissioning and Maintenance as applicable. Designer will generally be personnel who set out plans on which decisions are made as well as communicating plans to Construction personnel and personnel responsible for ensuring the build performs as designed ie Commisioning.